CliniScan:Lung-Abnormality Detection on Chest X-rays using AI

Milestone 3: Model Optimization & Refinement

1.Objective of Milestone 3

- The objective of this milestone is to improve the performance, robustness, and reliability of the developed models using optimization techniques.

- It focuses on enhancing model accuracy through hyperparameter tuning, transfer learning, and advanced data augmentation.

- Additionally, this milestone aims to improve model interpretability by applying Grad-CAM for visual explanation of predictions.

- Overall, the goal is to make the model more accurate, generalizable, and explainable for real-world applications.

2. Tasks Performed

- Hyperparameter tuning was performed by adjusting parameters such as learning rate, batch size, and optimizer settings to improve model performance.

- Advanced data augmentation techniques were implemented using Albumentations, including flipping, rotation, brightness adjustment, and noise addition to improve generalization.

- Transfer learning was applied using pretrained models (DenseNet), where final layers were fine-tuned for the medical dataset.

- A comprehensive evaluation was conducted on the validation dataset using metrics like accuracy, AUC, F1-score, and mAP.

- Grad-CAM was implemented to visualize model attention by highlighting important regions in the input images.

- Detection results were refined by improving bounding box visualization for better interpretability.

3. Evaluation

- The optimized model showed measurable improvement over the baseline in terms of accuracy and other performance metrics.

- Grad-CAM visualizations confirmed that the model focuses on relevant regions in most cases.

- Both quantitative metrics and qualitative visual analysis were used to evaluate model performance.

- Strengths and weaknesses of the model were identified for further improvement.

4. Observations

- Data augmentation improved model robustness and reduced overfitting.

- Transfer learning helped achieve better performance with less training time.

- Grad-CAM provided clear insights into model decision-making.

- Some classes still showed lower performance due to dataset imbalance.

5. Challenges Faced

- Hyperparameter tuning required multiple experiments and increased computation time.

- Implementing Grad-CAM involved handling gradients and hooks carefully.

- Visualization issues occurred due to tensor and numpy conversions.

6. Outcome

- Model performance was successfully improved compared to baseline.

- Advanced augmentation and transfer learning enhanced generalization.

- Grad-CAM improved model interpretability and transparency.

- The model is now more accurate, robust, and ready for deployment.